Qty	Craft	Hours	Unit	Material	Labor	Equipment	Total

__________________________________________________________________________

Ceiling fans, wall or remote control rev. motors, 120 v., 240 w, four blades, three or four lights

52” plain, white, oak

4.00	L1@	6.400	Ea	664.00	256.00	0.00	920.00

Switches in 1-1/2" deep handy boxes with handy box covers

1-pole 15 amp ivory 277V

4.00	L1@	1.720	Ea	12.44	68.80	0.00	81.24

QO® miniature circuit breaker, Square D®

20 amp, 1 pole

1.00	BE@	.1500	Ea	6.96	6.00	0.00	12.96

Type THHN copper building wire

12 gauge, solid, 100' coil

200.00	BE@	1.400	LF	27.44	56.00	0.00	83.44

__________________________________________________________________________

Total Manhours, Material, Labor, and Equipment:

9.7	710.84	386.80	0.00	1,097.64

Total Only (Subcontract) Costs:	0.00

Subtotal:	1,097.64

20.00% Overhead:	219.53

10.00% Contingency:	131.72

20.00% Profit:	289.78

Estimate Total:	1,738.67

7.00% Tax on Materials:	49.76

Grand Total:	$1,788.43

HO provides Fans               -  $644